## MOP_E
Report for previous day |  |  |  |  | Date of Reporting: |  | 18-Apr-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 59936 | 62760 | 51325 | 27455 | 3096 | 204572
Peak Shortage (MW) |  | 879 | 177 | 0 | 479 | 57 | 1592
Energy Met (MU) |  | 1263 | 1509.4 | 1286.91 | 604.65 | 57.09 | 4721.05
Hydro Gen (MU) |  | 160.04 | 47.3 | 89.4 | 44.1 | 9.13 | 349.97
Wind Gen (MU) |  | 27.28 | 75.85 | 39.53 | - | - | 142.66
Solar Gen (MU)* |  | 139.44 | 67.58 | 129.62 | 3.34 | 1.02 | 341
Energy Shortage (MU) |  | 11.54 | 3.94 | 0 | 5.2625 | 1.79 | 22.5325
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 60685 | 69436 | 62500 | 27928 | 3157 | 210829
Time Of Maximum Demand Met (From NLDC SCADA) |  | 20:41 | 15:15 | 14:59 | 21:34 | 19:01 | 15:00
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.079 | 0.73 | 1.81 | 9.66 | 12.2 | 59.19 | 28.61
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day(MW) | maximum Demand(MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 7922 | 0 | 159.65 | 46.13 | -0.67 | 158 | 0.23
| Haryana | 8186 | 0 | 155.39 | 87.6 | -0.48 | 251 | 3.08
| Rajasthan | 13385 | 0 | 281.3 | 69.62 | -1.3 | 243 | 2.67
| Delhi | 5059 | 0 | 101.12 | 94.76 | -3.17 | 103 | 0
NR | UP | 22211 | 235 | 425.45 | 151.13 | -0.18 | 779 | 3.05
| Uttarakhand | 2228 | 0 | 42.43 | 26.55 | 0.54 | 124 | 0.89
| HP | 1602 | 0 | 31.49 | 17.21 | -0.16 | 77 | 0
| J&K(UT) & Ladakh(UT) | 2793 | 135 | 57.51 | 41.27 | 1.96 | 580 | 1.62
| Chandigarh | 248 | 0 | 4.92 | 4.88 | 0.04 | 26 | 0
| Railways_NR ISTS | 175 | 0 | 3.84 | 3.07 | 0.77 | 54 | 0
| Chhattisgarh | 5574 | 7 | 128.1 | 74.5 | -0.2 | 322 | 2.61
| Gujarat | 21166 | 0 | 456.1 | 183.7 | 0.9 | 1055 | 0
| MP | 12244 | 0 | 266.2 | 143.1 | -2.7 | 569 | 0
WR | Maharashtra | 27899 | 0 | 584.9 | 191.8 | 1 | 1213 | 1.33
| Goa | 743 | 0 | 15 | 15.3 | -0.8 | 73 | 0
| DNHDDPDCL | 1266 | 0 | 29.1 | 29.2 | -0.1 | 102 | 0
| AMNSIL | 819 | 0 | 17.7 | 8.1 | -0.1 | 245 | 0
| BALCO | 517 | 0 | 12.3 | 12.5 | -0.2 | 0 | 0
| Andhra Pradesh | 12093 | 0 | 244.42 | 97.68 | -1.81 | 821 | 0
| Telangana | 12708 | 0 | 250.64 | 112.4 | 0.7 | 751 | 0
SR | Karnataka | 15790 | 0 | 301.25 | 120.82 | 1.84 | 958 | 0
| Kerala | 4894 | 0 | 100.64 | 69.29 | 0.73 | 313 | 0
| Tamil Nadu | 18563 | 0 | 380.45 | 238.18 | -0.49 | 683 | 0
| Puducherry | 427 | 0 | 9.51 | 9.38 | -0.56 | 31 | 0
| Bihar | 6143 | 209 | 127.2 | 115.93 | -1.79 | 218 | 1.3515
| DVC | 3547 | 0 | 77.1 | -45.24 | 0.54 | 285 | 0
| Jharkhand | 1652 | 238 | 35.17 | 29.25 | -2.79 | 134 | 3.911
ER | Odisha | 6370 | 0 | 128.83 | 48.84 | -2.1 | 345 | 0
| West Bengal | 11438 | 0 | 234.8 | 93.75 | -1.37 | 359 | 0
| Sikkim | 99 | 0 | 1.55 | 1.11 | 0.44 | 68 | 0
| Arunachal Pradesh | 154 | 0 | 2.57 | 2.35 | 0.14 | 54 | 0
| Assam | 1969 | 0 | 35.62 | 28.18 | 0.66 | 331 | 0.46
| Manipur | 204 | 26 | 2.83 | 2.63 | 0.2 | 38 | 0.09
NER | Meghalaya | 300 | 38 | 5.32 | 3.26 | 0.57 | 79 | 1.24
| Mizoram | 124 | 0 | 1.97 | 1.44 | -0.12 | 9 | 0
| Nagaland | 146 | 0 | 2.41 | 2.57 | -0.16 | 21 | 0
| Tripura | 336 | 0 | 6.37 | 5.18 | 0.75 | 94 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 2.15 | -13.329 | -24.942 | -18.2795
Day Peak (MW) |  | 246 | -752.74 | -1102 | -794
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 95.8 | -224.68 | 191.08 | -65 | 2.8 | 0
Actual(MU) |  | 71.67 | -212.13 | 199.995 | -70.89 | 5.86 | -5.495
O/D/U/D(MU) |  | -24.13 | 12.55 | 8.915 | -5.89 | 3.06 | -5.495
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 1280.26 | 8678.75 | 3708 | 1450 | 425 | 15542.01 | 44.659
State Sector |  | 6589.5 | 8175 | 3296 | 970 | 229 | 19259.5 | 55.341
Total |  | 7869.76 | 16853.75 | 7004 | 2420 | 654 | 34801.51 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 836.29 | 1571.8 | 744.07 | 716.76 | 17.11 | 3886.03 | 75.9798
Lignite |  | 16.36 | 15.23 | 64.55 | 0 | 0 | 96.14 | 1.8797
Hydro |  | 160.04 | 47.3 | 89.4 | 44.1 | 9.13 | 349.97 | 6.8426
Nuclear |  | 29.8 | 35.26 | 69.52 | 0 | 0 | 134.58 | 2.6313
Gas, Naptha & Diesel |  | 33.95 | 39.43 | 6.4 | 0 | 31.39 | 111.17 | 2.1736
RES (Wind, Solar, Biomass & Others) |  | 186.21 | 144.93 | 200.57 | 3.94 | 1.02 | 536.67 | 10.493
Total |  | 1262.65 | 1853.95 | 1174.51 | 764.8 | 58.65 | 5114.56 | 100
Share of RES in total generation (%) |  | 14.7476 | 7.8174 | 17.0769 | 0.51517 | 1.7391 | 10.493
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 29.7826 | 12.2706 | 30.6077 | 6.2814 | 17.3061 | 19.9669
H. All India Demand Diversity Factor
Based on Regional Max Demands |  | 1.0611
Based on State Max Demands |  | 1.0956
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 18-Apr-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 2 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 209 | 450 | 0 | 2.46 |  | -2.46
4 | 765 kV | SASARAM-FATEHPUR | 1 | 0 | 379 | 0 | 5.56 |  | -5.56
5 | 765 kV | GAYA-BALIA | 1 | 0 | 546 | 0 | 7.28 |  | -7.28
6 | 400 kV | PUSAULI-VARANASI | 1 | 4 | 68 | 0 | 0.62 |  | -0.62
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 63 | 11 | 0.72 | 0 |  | 0.72
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 485 | 341 | 0 | 0.22 |  | -0.22
9 | 400 kV | PATNA-BALIA | 2 | 23 | 419 | 0 | 6.15 |  | -6.15
10 | 400 kV | NAUBATPUR-BALIA | 2 | 64 | 424 | 0 | 6 |  | -6
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 266 | 127 | 1.24 | 0 |  | 1.24
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 173 | 353 | 0 | 3.76 |  | -3.76
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 217 | 190 | 0 | 0.52 |  | -0.52
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 220 | 0 | 3.47 |  | -3.47
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 25 | 0 | 0.49 | 0 |  | 0.49
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 24 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 2.45 | 36.04 |  | -33.59
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 2108 | 0 | 30.33 | 0 |  | 30.33
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1113 | 595 | 9.23 | 0 |  | 9.23
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 751 | 0 | 10.12 |  | -10.12
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 598 | 0 | 7.94 |  | -7.94
5 | 400 kV | RANCHI-SIPAT | 2 | 191 | 235 | 0.1 | 0 |  | 0.1
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 130 | 0 | 1.84 |  | -1.84
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 88 | 15 | 0.93 | 0 |  | 0.93
ER-WR | [5 empty] | 40.59 | 19.9 |  | 20.69
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 654 | 0 | 15.06 |  | -15.06
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1642 | 0 | 39.6 |  | -39.6
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2893 | 0 | 52.02 |  | -52.02
4 | 400 kV | TALCHER-I/C | 2 | 269 | 0 | 5.02 | 0 |  | 5.02
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 106.68 |  | -106.68
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 106 | 63 | 0.92 | 0.24 |  | 0.68
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 361 | 92 | 3.46 | 0 |  | 3.46
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 62 | 22 | 0.58 | 0 |  | 0.58
ER-NER | [5 empty] | 4.96 | 0.24 |  | 4.72
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 483 | 0 | 10.04 | 0 |  | 10.04
NER-NR | [5 empty] | 10.04 | 0 |  | 10.04
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 1497 | 0 | 35.08 |  | -35.08
2 | HVDC | VINDHYACHAL B/B | - | 448 | 0 | 10.3 | 0 |  | 10.3
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 788 | 0 | 10.83 |  | -10.83
4 | 765 kV | GWALIOR-AGRA | 2 | 348 | 1687 | 0.22 | 18.54 |  | -18.32
5 | 765 kV | GWALIOR-PHAGI | 2 | 524 | 1392 | 1.72 | 16.59 |  | -14.87
6 | 765 kV | JABALPUR-ORAI | 2 | 41 | 690 | 0 | 12.27 |  | -12.27
7 | 765 kV | GWALIOR-ORAI | 1 | 812 | 0 | 11.95 | 0 |  | 11.95
8 | 765 kV | SATNA-ORAI | 1 | 0 | 994 | 0 | 17.51 |  | -17.51
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 2557 | 0 | 34.36 | 0 |  | 34.36
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2936 | 0 | 41.72 |  | -41.72
11 | 400 kV | ZERDA-KANKROLI | 1 | 438 | 56 | 6.07 | 0 |  | 6.07
12 | 400 kV | ZERDA -BHINMAL | 1 | 721 | 0 | 8.78 | 0 |  | 8.78
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 980 | 0 | 21.95 | 0 |  | 21.95
14 | 400 kV | RAPP-SHUJALPUR | 2 | 658 | 230 | 4.82 | 1.52 |  | 3.3
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 0 |  | 0
17 | 220 kV | MEHGAON-AURAIYA | 1 | 114 | 0 | 1.534 | 0 |  | 1.534
18 | 220 kV | MALANPUR-AURAIYA | 1 | 96 | 0 | 1.213 | 0 |  | 1.213
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 102.917 | 154.06 |  | -51.143
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1016 | 0 | 14.27 |  | -14.27
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 6016 | 0 | 82.57 |  | -82.57
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 40 | 1731 | 0 | 14.68 |  | -14.68
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 3139 | 0 | 51.02 |  | -51.02
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1064 | 0 | 19.61 | 0 |  | 19.61
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 129 | 2.56 | 0 |  | 2.56
WR-SR | [5 empty] | 22.17 | 162.54 |  | -140.37
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 158.392 | -27.362 | 59.73 |  | 1.4334
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 221.925 | 74.426 | 129.71 |  | 3.113
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -108.635 | -32.852 | -72.88 |  | -1.749
|  | NER | 132kV GELEPHU-SALAKATI |  | -8 | 6 | 1.25 |  | 0.03
|  | NER | 132kV MOTANGA-RANGIA |  | -41 | 7 | -28.333 |  | -0.68
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -78 | 0 | -65 |  | -1.55
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | -138.74 | -13.98 | -76.625 |  | -1.839
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -536 | -235 | -414.167 |  | -9.94
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -949 | -652 | -904.25 |  | -21.702
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -794 | -702 | -761.646 |  | -18.2795
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -153 | 0 | -135 |  | -3.24