## MOP_E
Report for previous day |  |  |  |  | Date of Reporting: |  | 19-Apr-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 60395 | 63593 | 52366 | 28579 | 3023 | 207956
Peak Shortage (MW) |  | 1178 | 375 | 0 | 435 | 33 | 2021
Energy Met (MU) |  | 1286 | 1539.2 | 1320.63 | 631.06 | 59.23 | 4836.12
Hydro Gen (MU) |  | 161.83 | 47.36 | 91.5 | 46.26 | 10.71 | 357.66
Wind Gen (MU) |  | 33.07 | 73.42 | 30.76 | - | - | 137.25
Solar Gen (MU)* |  | 135.77 | 65.96 | 127.66 | 2.66 | 0.93 | 332.98
Energy Shortage (MU) |  | 17.88 | 3.23 | 0 | 6.6796 | 1.36 | 29.1496
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 61308 | 70646 | 62744 | 28913 | 3235 | 215882
Time Of Maximum Demand Met (From NLDC SCADA) |  | 19:58 | 15:01 | 14:43 | 23:25 | 18:21 | 14:44
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.041 | 0 | 0.07 | 5.16 | 5.23 | 73.88 | 20.89
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day(MW) | maximum Demand(MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 8024 | 0 | 160.51 | 46.98 | -1.79 | 129 | 0
| Haryana | 8198 | 38 | 164.76 | 92.19 | -0.49 | 179 | 5.4
| Rajasthan | 13630 | 0 | 277.02 | 66.49 | -0.97 | 206 | 4.33
| Delhi | 5324 | 0 | 109.1 | 100.08 | -1.71 | 90 | 0
NR | UP | 22490 | 427 | 439.73 | 158.72 | -1.89 | 327 | 4.07
| Uttarakhand | 2142 | 0 | 43.91 | 27.11 | 0.72 | 213 | 1.67
| HP | 1631 | 0 | 31.78 | 16.24 | 0.12 | 89 | 0
| J&K(UT) & Ladakh(UT) | 2735 | 180 | 50.29 | 37.8 | 1.19 | 522 | 2.41
| Chandigarh | 278 | 0 | 5.24 | 5.15 | 0.09 | 29 | 0
| Railways_NR ISTS | 178 | 0 | 3.76 | 2.95 | 0.81 | 60 | 0
| Chhattisgarh | 5642 | 0 | 129.7 | 75.9 | -0.4 | 463 | 2.38
| Gujarat | 21627 | 0 | 461.7 | 182.8 | 1.6 | 1061 | 0
| MP | 12221 | 0 | 269.5 | 142.8 | -4.2 | 330 | 0
WR | Maharashtra | 28584 | 0 | 602.6 | 195.3 | 1.3 | 965 | 0.85
| Goa | 759 | 0 | 16.6 | 15.3 | 0.8 | 84 | 0
| DNHDDPDCL | 1266 | 0 | 29.3 | 29.9 | -0.6 | 25 | 0
| AMNSIL | 820 | 0 | 17.4 | 7.5 | -0.5 | 255 | 0
| BALCO | 519 | 0 | 12.4 | 12.5 | -0.1 | 7 | 0
| Andhra Pradesh | 12020 | 0 | 246.39 | 100.37 | -0.35 | 501 | 0
| Telangana | 12607 | 0 | 251.3 | 110.42 | 1.03 | 941 | 0
SR | Karnataka | 15798 | 0 | 305.64 | 117.67 | 0.63 | 643 | 0
| Kerala | 5024 | 0 | 103.08 | 71.12 | 0.87 | 326 | 0
| Tamil Nadu | 18882 | 0 | 404 | 245.36 | 5.06 | 1015 | 0
| Puducherry | 448 | 0 | 10.22 | 9.77 | -0.24 | 77 | 0
| Bihar | 6171 | 104 | 131.89 | 122.04 | 1.49 | 241 | 1.9556
| DVC | 3751 | 0 | 79.25 | -50.59 | 2.28 | 502 | 0
| Jharkhand | 1803 | 0 | 32.89 | 27.99 | -3.11 | 309 | 4.724
ER | Odisha | 6816 | 0 | 139.71 | 58.37 | -1.05 | 415 | 0
| West Bengal | 11868 | 0 | 245.71 | 103.55 | -0.93 | 408 | 0
| Sikkim | 104 | 0 | 1.61 | 1 | 0.61 | 70 | 0
| Arunachal Pradesh | 142 | 0 | 2.62 | 2.38 | 0.16 | 43 | 0
| Assam | 2024 | 0 | 37.66 | 29.36 | 1.51 | 257 | 0.07
| Manipur | 198 | 24 | 2.73 | 2.65 | 0.08 | 40 | 0.06
NER | Meghalaya | 324 | 31 | 5.32 | 3.37 | 0.57 | 68 | 1.23
| Mizoram | 122 | 0 | 1.98 | 1.45 | -0.14 | 19 | 0
| Nagaland | 140 | 0 | 2.36 | 2.51 | -0.15 | 16 | 0
| Tripura | 347 | 0 | 6.56 | 5.33 | 0.78 | 91 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 0.8993 | -14.563 | -25.262 | -16.848
Day Peak (MW) |  | 89.37 | -711.5 | -1104 | -787.07
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 97.61 | -241.19 | 192.03 | -51.99 | 3.54 | 0
Actual(MU) |  | 76.08 | -241.67 | 204.297 | -48.68 | 6.98 | -2.993
O/D/U/D(MU) |  | -21.53 | -0.48 | 12.267 | 3.31 | 3.44 | -2.993
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 1445.76 | 8823.05 | 2898 | 640 | 425 | 14231.81 | 44.6512
State Sector |  | 6028.5 | 7156 | 2408 | 1820 | 229 | 17641.5 | 55.3488
Total |  | 7474.26 | 15979.05 | 5306 | 2460 | 654 | 31873.31 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 854.6 | 1624.16 | 773.01 | 719.97 | 16.73 | 3988.47 | 76.1241
Lignite |  | 21.54 | 14.56 | 66.25 | 0 | 0 | 102.35 | 1.9535
Hydro |  | 161.83 | 47.36 | 91.5 | 46.26 | 10.71 | 357.66 | 6.8263
Nuclear |  | 29.75 | 35.39 | 69.27 | 0 | 0 | 134.41 | 2.5654
Gas, Naptha & Diesel |  | 41.31 | 53.36 | 6.3 | 0 | 31.38 | 132.35 | 2.526
RES (Wind, Solar, Biomass & Others) |  | 187.86 | 141.13 | 191.13 | 3.14 | 0.93 | 524.19 | 10.0047
Total |  | 1296.89 | 1915.96 | 1197.46 | 769.37 | 59.75 | 5239.43 | 100
Share of RES in total generation (%) |  | 14.4854 | 7.366 | 15.9613 | 0.40813 | 1.5565 | 10.0047
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 29.2577 | 11.685 | 29.3872 | 6.4208 | 19.4812 | 19.3964
H. All India Demand Diversity Factor
Based on Regional Max Demands |  | 1.0508
Based on State Max Demands |  | 1.087
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 19-Apr-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 2 | 0 | 0 | 0 |  | 0
3 | 765 kV | GAYA-VARANASI | 2 | 272 | 269 | 0.29 | 0 |  | 0.29
4 | 765 kV | SASARAM-FATEHPUR | 1 | 67 | 237 | 0 | 2.43 |  | -2.43
5 | 765 kV | GAYA-BALIA | 1 | 0 | 547 | 0 | 8.29 |  | -8.29
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 117 | 0 | 1.21 |  | -1.21
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 109 | 0 | 1.27 | 0 |  | 1.27
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 543 | 268 | 1.71 | 0 |  | 1.71
9 | 400 kV | PATNA-BALIA | 2 | 0 | 435 | 0 | 6.56 |  | -6.56
10 | 400 kV | NAUBATPUR-BALIA | 2 | 17 | 446 | 0 | 5.42 |  | -5.42
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 467 | 135 | 2.75 | 0 |  | 2.75
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 216 | 298 | 0 | 2.47 |  | -2.47
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 335 | 114 | 1.42 | 0 |  | 1.42
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 199 | 0 | 3.05 |  | -3.05
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 25 | 0 | 0.45 | 0 |  | 0.45
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 55 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 7.89 | 29.43 |  | -21.54
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 1760 | 0 | 27.57 | 0 |  | 27.57
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1216 | 187 | 14.53 | 0 |  | 14.53
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 638 | 0 | 9.04 |  | -9.04
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 422 | 0 | 6.66 |  | -6.66
5 | 400 kV | RANCHI-SIPAT | 2 | 254 | 149 | 1.07 | 0 |  | 1.07
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 110 | 0 | 1.57 |  | -1.57
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 112 | 0 | 1.42 | 0 |  | 1.42
ER-WR | [5 empty] | 44.59 | 17.27 |  | 27.32
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 657 | 0 | 15.07 |  | -15.07
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1638 | 0 | 39.59 |  | -39.59
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2798 | 0 | 48.33 |  | -48.33
4 | 400 kV | TALCHER-I/C | 2 | 271 | 0 | 4.85 | 0 |  | 4.85
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 102.99 |  | -102.99
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 117 | 92 | 0.86 | 0.54 |  | 0.32
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 403 | 155 | 3.76 | 0 |  | 3.76
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 84 | 37 | 0.57 | 0 |  | 0.57
ER-NER | [5 empty] | 5.19 | 0.54 |  | 4.65
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 484 | 0 | 10.1 | 0 |  | 10.1
NER-NR | [5 empty] | 10.1 | 0 |  | 10.1
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 1501 | 0 | 35.55 |  | -35.55
2 | HVDC | VINDHYACHAL B/B | - | 448 | 54 | 5.87 | 0.49 |  | 5.38
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 791 | 0 | 19.39 |  | -19.39
4 | 765 kV | GWALIOR-AGRA | 2 | 304 | 1689 | 0.18 | 18.47 |  | -18.29
5 | 765 kV | GWALIOR-PHAGI | 2 | 420 | 1130 | 1.28 | 14.33 |  | -13.05
6 | 765 kV | JABALPUR-ORAI | 2 | 59 | 709 | 0 | 13.22 |  | -13.22
7 | 765 kV | GWALIOR-ORAI | 1 | 769 | 0 | 11.38 | 0 |  | 11.38
8 | 765 kV | SATNA-ORAI | 1 | 0 | 937 | 0 | 17.27 |  | -17.27
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 2722 | 0 | 35.06 | 0 |  | 35.06
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2719 | 0 | 45.55 |  | -45.55
11 | 400 kV | ZERDA-KANKROLI | 1 | 460 | 0 | 6.54 | 0 |  | 6.54
12 | 400 kV | ZERDA -BHINMAL | 1 | 784 | 0 | 9.88 | 0 |  | 9.88
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 958 | 0 | 21.54 | 0 |  | 21.54
14 | 400 kV | RAPP-SHUJALPUR | 2 | 586 | 239 | 4.78 | 1.55 |  | 3.23
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 0 |  | 0
17 | 220 kV | MEHGAON-AURAIYA | 1 | 108 | 0 | 1.696 | 0 |  | 1.696
18 | 220 kV | MALANPUR-AURAIYA | 1 | 91 | 0 | 1.34 | 0 |  | 1.34
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 99.546 | 165.82 |  | -66.274
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 816 | 0 | 19.2 |  | -19.2
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 6016 | 0 | 98.94 |  | -98.94
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 830 | 2006 | 2.41 | 11.34 |  | -8.93
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2977 | 0 | 45.75 |  | -45.75
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1375 | 0 | 22.11 | 0 |  | 22.11
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 127 | 2.64 | 0 |  | 2.64
WR-SR | [5 empty] | 27.16 | 175.23 |  | -148.07
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | -145.733 | 129.362 | 2.38 |  | 0.057
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 182.682 | 43.304 | 131.33 |  | 3.152
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -146.818 | -34.525 | -72.79 |  | -1.747
|  | NER | 132kV GELEPHU-SALAKATI |  | 11.58 | -7.66 | 3.579 |  | 0.0859
|  | NER | 132kV MOTANGA-RANGIA |  | -41.21 | -11.28 | -26.942 |  | -0.6466
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -77 | 0 | -66 |  | -1.59
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | -198.5 | -46 | -149.708 |  | -3.593
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -436 | -138 | -390.833 |  | -9.38
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -954 | -652 | -917.58 |  | -22.022
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -787.07 | -431.6 | -702 |  | -16.848
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -150 | 0 | -135 |  | -3.24