## MOP_E
Report for previous day |  |  |  |  | Date of Reporting: |  | 20-Apr-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 60436 | 62902 | 52343 | 27674 | 2552 | 205907
Peak Shortage (MW) |  | 641 | 0 | 0 | 676 | 101 | 1418
Energy Met (MU) |  | 1242 | 1536.7 | 1328.92 | 629.67 | 54.26 | 4791.55
Hydro Gen (MU) |  | 187.89 | 46.11 | 77.7 | 48.49 | 8.54 | 368.73
Wind Gen (MU) |  | 15.34 | 116.65 | 32.92 | - | - | 164.91
Solar Gen (MU)* |  | 122.53 | 65.53 | 125.23 | 2.65 | 0.98 | 316.92
Energy Shortage (MU) |  | 12.57 | 0.38 | 0 | 4.187 | 1.8 | 18.937
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 60762 | 70402 | 63221 | 29302 | 2888 | 214924
Time Of Maximum Demand Met (From NLDC SCADA) |  | 20:40 | 15:22 | 14:55 | 23:20 | 18:41 | 15:27
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.053 | 0 | 0.49 | 7.81 | 8.3 | 67.25 | 24.45
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day(MW) | maximum Demand(MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 7172 | 0 | 135.64 | 28.73 | -2.01 | 456 | 0
| Haryana | 8216 | 0 | 153.57 | 89.84 | -3.14 | 586 | 2.88
| Rajasthan | 13680 | 0 | 271.41 | 71.47 | -2.66 | 201 | 6.04
| Delhi | 5232 | 0 | 107.14 | 96.12 | -2.37 | 179 | 0.01
NR | UP | 22923 | 0 | 435.76 | 165.77 | 0.69 | 641 | 2.63
| Uttarakhand | 2093 | 0 | 42.16 | 24.67 | -0.58 | 150 | 0.92
| HP | 1473 | 0 | 29.33 | 12.24 | -0.39 | 112 | 0.09
| J&K(UT) & Ladakh(UT) | 2827 | 0 | 58.2 | 39.68 | 0.53 | 396 | 0
| Chandigarh | 237 | 0 | 4.83 | 5.22 | -0.39 | 15 | 0
| Railways_NR ISTS | 182 | 0 | 3.93 | 2.95 | 0.98 | 73 | 0
| Chhattisgarh | 5618 | 0 | 129.8 | 75.2 | -1.8 | 348 | 0.38
| Gujarat | 21074 | 0 | 458.1 | 174.7 | -1.4 | 708 | 0
| MP | 11948 | 0 | 266.2 | 140.1 | -2.7 | 490 | 0
WR | Maharashtra | 28165 | 0 | 606.7 | 199.1 | -0.2 | 655 | 0
| Goa | 746 | 0 | 15.8 | 15.5 | -0.1 | 94 | 0
| DNHDDPDCL | 1271 | 0 | 29.6 | 30.1 | -0.5 | 39 | 0
| AMNSIL | 868 | 0 | 18.1 | 4.9 | 0.2 | 303 | 0
| BALCO | 518 | 0 | 12.4 | 12.5 | -0.1 | 5 | 0
| Andhra Pradesh | 12133 | 0 | 246.5 | 106.1 | 1.27 | 494 | 0
| Telangana | 12674 | 0 | 251.67 | 117.17 | 0.87 | 571 | 0
SR | Karnataka | 15752 | 0 | 307.78 | 120.36 | 0.59 | 913 | 0
| Kerala | 4893 | 0 | 103.33 | 74.75 | 0.21 | 203 | 0
| Tamil Nadu | 19087 | 0 | 409.37 | 256.95 | -0.49 | 523 | 0
| Puducherry | 461 | 0 | 10.27 | 10.05 | -0.52 | 32 | 0
| Bihar | 6456 | 364 | 127.7 | 119.68 | 0.62 | 407 | 2.792
| DVC | 3714 | 0 | 80.64 | -45.71 | 1.74 | 389 | 0
| Jharkhand | 1857 | 0 | 35.93 | 31.53 | -4.39 | 143 | 1.395
ER | Odisha | 7192 | 0 | 141.71 | 64.03 | -2.46 | 361 | 0
| West Bengal | 11298 | 0 | 242.11 | 103.96 | -2.3 | 367 | 0
| Sikkim | 98 | 0 | 1.58 | 1.35 | 0.23 | 67 | 0
| Arunachal Pradesh | 128 | 0 | 2.36 | 2.35 | -0.08 | 47 | 0
| Assam | 1802 | 0 | 32.9 | 27.86 | -1.08 | 182 | 0
| Manipur | 207 | 4 | 2.86 | 2.68 | 0.18 | 36 | 0.04
NER | Meghalaya | 269 | 76 | 4.8 | 3.24 | 0.18 | 48 | 1.76
| Mizoram | 112 | 0 | 1.99 | 1.51 | -0.17 | 20 | 0
| Nagaland | 145 | 0 | 3.03 | 2.55 | 0.48 | 16 | 0
| Tripura | 334 | 0 | 6.32 | 5.42 | 0.48 | 78 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 4.07 | -11.298 | -25.488 | -17.8823
Day Peak (MW) |  | 326 | -606.5 | -1101 | -774.81
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 89.69 | -261.54 | 212.97 | -45.01 | 3.89 | 0
Actual(MU) |  | 73.97 | -254.52 | 228.471 | -55.4 | 4.78 | -2.699
O/D/U/D(MU) |  | -15.72 | 7.02 | 15.501 | -10.39 | 0.89 | -2.699
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 2505.47 | 11072.1 | 2748 | 640 | 425 | 17390.57 | 47.8538
State Sector |  | 5429.5 | 8201.5 | 2828 | 2240 | 251.5 | 18950.5 | 52.1462
Total |  | 7934.97 | 19273.6 | 5576 | 2880 | 676.5 | 36341.07 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 821.29 | 1583.11 | 770 | 715.03 | 16.5 | 3905.93 | 75.3918
Lignite |  | 24.5 | 15.32 | 67.49 | 0 | 0 | 107.31 | 2.0713
Hydro |  | 187.89 | 46.11 | 77.7 | 48.49 | 8.54 | 368.73 | 7.1172
Nuclear |  | 29.78 | 34.57 | 69.24 | 0 | 0 | 133.59 | 2.5785
Gas, Naptha & Diesel |  | 41.88 | 50.19 | 6.4 | 0 | 30.43 | 128.9 | 2.488
RES (Wind, Solar, Biomass & Others) |  | 156.4 | 184.03 | 191.83 | 3.14 | 0.98 | 536.38 | 10.3531
Total |  | 1261.74 | 1913.33 | 1182.66 | 766.66 | 56.45 | 5180.84 | 100
Share of RES in total generation (%) |  | 12.3956 | 9.6183 | 16.2202 | 0.40957 | 1.736 | 10.3531
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 29.6472 | 13.835 | 28.6447 | 6.7344 | 16.8645 | 20.0489
H. All India Demand Diversity Factor
Based on Regional Max Demands |  | 1.0542
Based on State Max Demands |  | 1.0834
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 20-Apr-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 2 | 95 | 0 | 2.04 |  | -2.04
3 | 765 kV | GAYA-VARANASI | 2 | 263 | 302 | 0 | 0.51 |  | -0.51
4 | 765 kV | SASARAM-FATEHPUR | 1 | 118 | 203 | 0 | 0.9 |  | -0.9
5 | 765 kV | GAYA-BALIA | 1 | 0 | 472 | 0 | 6.97 |  | -6.97
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 155 | 0 | 2.42 |  | -2.42
7 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 356 | 361 | 0 | 0.27 |  | -0.27
8 | 400 kV | PATNA-BALIA | 2 | 0 | 389 | 0 | 5.66 |  | -5.66
9 | 400 kV | NAUBATPUR-BALIA | 2 | 0 | 388 | 0 | 5.36 |  | -5.36
10 | 400 kV | BIHARSHARIFF-BALIA | 2 | 313 | 106 | 0 | 2.69 |  | -2.69
11 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 118 | 342 | 0 | 3.23 |  | -3.23
12 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 181 | 102 | 0 | 0.6 |  | -0.6
13 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 183 | 0 | 3.25 |  | -3.25
14 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
15 | 132 kV | GARWAH-RIHAND | 1 | 25 | 0 | 0.5 | 0 |  | 0.5
16 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 13 | 0 | 0 |  | 0
17 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.5 | 33.9 |  | -33.4
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 2115 | 0 | 32.47 | 0 |  | 32.47
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 1310 | 385 | 14.6 | 0 |  | 14.6
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 628 | 0 | 8.56 |  | -8.56
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 0 | 449 | 0 | 6.32 |  | -6.32
5 | 400 kV | RANCHI-SIPAT | 2 | 233 | 141 | 2.21 | 0 |  | 2.21
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 90 | 0 | 1.07 |  | -1.07
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 128 | 0 | 1.92 | 0 |  | 1.92
ER-WR | [5 empty] | 51.2 | 15.95 |  | 35.25
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 654 | 0 | 15.07 |  | -15.07
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1646 | 0 | 39.63 |  | -39.63
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 3055 | 0 | 55.36 |  | -55.36
4 | 400 kV | TALCHER-I/C | 2 | 259 | 0 | 4.31 | 0 |  | 4.31
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 110.06 |  | -110.06
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 178 | 101 | 1.33 | 0.29 |  | 1.04
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 600 | 224 | 4.58 | 0 |  | 4.58
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 133 | 34 | 1.71 | 0 |  | 1.71
ER-NER | [5 empty] | 7.62 | 0.29 |  | 7.33
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 484 | 0 | 10.74 | 0 |  | 10.74
NER-NR | [5 empty] | 10.74 | 0 |  | 10.74
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 1504 | 0 | 34.78 |  | -34.78
2 | HVDC | VINDHYACHAL B/B | - | 229 | 0 | 6.07 | 0 |  | 6.07
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 787 | 0 | 13.15 |  | -13.15
4 | 765 kV | GWALIOR-AGRA | 2 | 411 | 1790 | 0.43 | 17.67 |  | -17.24
5 | 765 kV | GWALIOR-PHAGI | 2 | 601 | 1086 | 1.9 | 11.22 |  | -9.32
6 | 765 kV | JABALPUR-ORAI | 2 | 173 | 760 | 0 | 10.54 |  | -10.54
7 | 765 kV | GWALIOR-ORAI | 1 | 742 | 0 | 12.08 | 0 |  | 12.08
8 | 765 kV | SATNA-ORAI | 1 | 0 | 762 | 0 | 14.36 |  | -14.36
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 2371 | 0 | 25.61 | 0 |  | 25.61
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2649 | 0 | 38.69 |  | -38.69
11 | 400 kV | ZERDA-KANKROLI | 1 | 406 | 0 | 4.71 | 0 |  | 4.71
12 | 400 kV | ZERDA -BHINMAL | 1 | 670 | 0 | 6.38 | 0 |  | 6.38
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 952 | 0 | 21.62 | 0 |  | 21.62
14 | 400 kV | RAPP-SHUJALPUR | 2 | 609 | 253 | 5.07 | 1.48 |  | 3.59
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 30 | 0 | 0 |  | 0
17 | 220 kV | MEHGAON-AURAIYA | 1 | 112 | 0 | 1.789 | 0 |  | 1.789
18 | 220 kV | MALANPUR-AURAIYA | 1 | 94 | 0 | 1.438 | 0 |  | 1.438
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 87.097 | 141.89 |  | -54.793
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1016 | 0 | 20.44 |  | -20.44
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 6016 | 0 | 94.19 |  | -94.19
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 229 | 1935 | 0.09 | 17.86 |  | -17.77
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 3459 | 0 | 53.88 |  | -53.88
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1164 | 0 | 19.59 | 0 |  | 19.59
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 138 | 2.5 | 0 |  | 2.5
WR-SR | [5 empty] | 22.18 | 186.37 |  | -164.19
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 206.394 | -43.261 | 67.36 |  | 1.6167
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 408.667 | 33.83 | 173.67 |  | 4.168
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -164.994 | 98.492 | -45.79 |  | -1.099
|  | NER | 132kV GELEPHU-SALAKATI |  | 16 | 2 | 2.5 |  | 0.06
|  | NER | 132kV MOTANGA-RANGIA |  | -53 | -6 | -28.333 |  | -0.68
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | 0 | 0 | 0 |  | 0
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | -165.5 | -16 | -117.833 |  | -2.828
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -441 | -266 | -352.917 |  | -8.47
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -951 | -843 | -927 |  | -22.248
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -774.81 | -710.68 | -745.096 |  | -17.8823
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -150 | 0 | -135 |  | -3.24