## MOP_E
Report for previous day |  |  |  |  | Date of Reporting: |  | 22-Apr-2023
A. Power Supply Position at All India and Regional level
|  | NR | WR | SR | ER | NER | TOTAL
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) |  | 57209 | 60787 | 49031 | 24659 | 2313 | 193999
Peak Shortage (MW) |  | 0 | 0 | 0 | 0 | 57 | 57
Energy Met (MU) |  | 1229 | 1462 | 1274.16 | 569.59 | 43.43 | 4578.18
Hydro Gen (MU) |  | 218.41 | 31.65 | 64.5 | 46.99 | 12.88 | 374.43
Wind Gen (MU) |  | 10.6 | 102.28 | 61.82 | - | - | 174.7
Solar Gen (MU)* |  | 146.71 | 67.03 | 117.48 | 4.78 | 0.83 | 336.83
Energy Shortage (MU) |  | 0 | 0 | 0 | 0.54 | 1.1 | 1.64
Maximum Demand Met During the Day (MW) (From NLDC SCADA) |  | 58121 | 67085 | 61326 | 27535 | 2489 | 204777
Time Of Maximum Demand Met (From NLDC SCADA) |  | 19:45 | 14:47 | 14:53 | 00:01 | 18:09 | 14:47
B. Frequency Profile (%)
Region | FVI | < 49.7 | 49.7 - 49.8 | 49.8 - 49.9 | < 49.9 | 49.9 - 50.05 | > 50.05
All India | 0.055 | 0 | 0.12 | 7.02 | 7.14 | 63.66 | 29.2
C. Power Supply Position in States
|  | Max.Demand | Shortage during | Energy Met | Drawal | OD(+)/UD(-) | Max OD | Energy
Region | States | Met during the day(MW) | maximum Demand(MW) | (MU) | Schedule (MU) | (MU) | (MW) | Shortage (MU)
| Punjab | 6632 | 0 | 138.64 | 33.38 | -1.53 | 137 | 0
| Haryana | 7974 | 0 | 157.32 | 95.19 | -0.5 | 206 | 0
| Rajasthan | 13479 | 0 | 274.15 | 79.03 | -6.52 | 221 | 0
| Delhi | 4680 | 0 | 98.78 | 92.51 | -2.76 | 99 | 0
NR | UP | 21619 | 0 | 420.28 | 174.51 | -0.13 | 475 | 0
| Uttarakhand | 2069 | 0 | 42.84 | 20.7 | -1.42 | 129 | 0
| HP | 1567 | 0 | 29.22 | 8.91 | -0.13 | 49 | 0
| J&K(UT) & Ladakh(UT) | 2853 | 0 | 59.3 | 39.74 | -0.79 | 283 | 0
| Chandigarh | 220 | 0 | 4.76 | 4.8 | -0.04 | 38 | 0
| Railways_NR ISTS | 180 | 0 | 3.88 | 3.2 | 0.68 | 48 | 0
| Chhattisgarh | 5154 | 0 | 110.7 | 55 | -5.1 | 164 | 0
| Gujarat | 20902 | 0 | 452.4 | 162 | -0.8 | 586 | 0
| MP | 11393 | 0 | 239.5 | 139.5 | -1.8 | 413 | 0
WR | Maharashtra | 27145 | 0 | 581.9 | 200.5 | -3.6 | 783 | 0
| Goa | 740 | 0 | 16.1 | 16 | -0.4 | 30 | 0
| DNHDDPDCL | 1261 | 0 | 29.5 | 29.8 | -0.3 | 62 | 0
| AMNSIL | 885 | 0 | 19.5 | 8.2 | 0 | 290 | 0
| BALCO | 522 | 0 | 12.4 | 12.5 | -0.1 | 516 | 0
| Andhra Pradesh | 12074 | 0 | 241.3 | 106.4 | -0.36 | 658 | 0
| Telangana | 11374 | 0 | 219.24 | 88.96 | -1.95 | 518 | 0
SR | Karnataka | 15664 | 0 | 298.08 | 114.93 | -0.18 | 469 | 0
| Kerala | 4752 | 0 | 99.53 | 74.15 | 0.13 | 189 | 0
| Tamil Nadu | 18892 | 0 | 405.37 | 243.49 | -1.77 | 401 | 0
| Puducherry | 474 | 0 | 10.64 | 10.57 | -0.59 | 22 | 0
| Bihar | 6155 | 0 | 122.65 | 115.91 | -3 | 315 | 0.54
| DVC | 3420 | 0 | 79.29 | -43.45 | 0.14 | 302 | 0
| Jharkhand | 1788 | 0 | 35.08 | 31.19 | -3.87 | 138 | 0
ER | Odisha | 5045 | 0 | 110.96 | 39.32 | -1.79 | 510 | 0
| West Bengal | 10969 | 0 | 220.35 | 89.52 | -5.54 | 165 | 0
| Sikkim | 100 | 0 | 1.26 | 1.17 | 0.09 | 60 | 0
| Arunachal Pradesh | 131 | 0 | 2.39 | 2.55 | -0.27 | 10 | 0
| Assam | 1701 | 0 | 27.83 | 22.55 | -0.77 | 80 | 0
| Manipur | 123 | 0 | 1.39 | 1.94 | -0.55 | 43 | 0
NER | Meghalaya | 291 | 25 | 5.02 | 3.99 | 0.05 | 95 | 1.1
| Mizoram | 98 | 0 | 1.3 | 1.59 | -0.67 | 25 | 0
| Nagaland | 139 | 0 | 2.31 | 2.44 | -0.13 | 9 | 0
| Tripura | 224 | 0 | 3.19 | 3.64 | -1.13 | 20 | 0
D. Transnational Exchanges (MU) - Import(+ve)/Export(-ve)
|  | Bhutan | Nepal | Bangladesh | Godda -> Bangladesh
Actual (MU) |  | 5.49 | -13.151 | -24.168 | -15.858
Day Peak (MW) |  | 417 | -759.55 | -1084 | -759.17
E. Import/Export by Regions (in MU) - Import(+ve)/Export(-ve); OD(+)/UD(-)
|  | NR | WR | SR | ER | NER | TOTAL
Schedule(MU) |  | 103.98 | -254.93 | 200.14 | -43.59 | -5.6 | 0
Actual(MU) |  | 75.19 | -238.64 | 217.92 | -53.95 | -7.25 | -6.73
O/D/U/D(MU) |  | -28.79 | 16.29 | 17.78 | -10.36 | -1.65 | -6.73
F. Generation Outage(MW)
|  | NR | WR | SR | ER | NER | TOTAL | % Share
Central Sector |  | 3047.04 | 10610.6 | 3498 | 2290 | 425 | 19870.64 | 52.3102
State Sector |  | 6004.5 | 7767 | 1958 | 2100 | 286 | 18115.5 | 47.6898
Total |  | 9051.54 | 18377.6 | 5456 | 4390 | 711 | 37986.14 | 100
G. Sourcewise generation (Gross) (MU)
|  | NR | WR | SR | ER | NER | All India | % Share
Coal |  | 764.2 | 1552.6 | 750.58 | 658 | 14.9 | 3740.28 | 75.3464
Lignite |  | 24.97 | 17.69 | 59.71 | 0 | 0 | 102.37 | 2.0622
Hydro |  | 218.41 | 31.65 | 64.5 | 46.99 | 12.88 | 374.43 | 7.5427
Nuclear |  | 30.04 | 34.95 | 44.76 | 0 | 0 | 109.75 | 2.2109
Gas, Naptha & Diesel |  | 17.29 | 20.15 | 6.3 | 0 | 28.88 | 72.62 | 1.4629
RES (Wind, Solar, Biomass & Others) |  | 177.12 | 170.32 | 211.17 | 5.22 | 0.834 | 564.664 | 11.3749
Total |  | 1232.03 | 1827.36 | 1137.02 | 710.21 | 57.494 | 4964.114 | 100
Share of RES in total generation (%) |  | 14.3763 | 9.3205 | 18.5722 | 0.73499 | 1.4506 | 11.3749
Share of Non-fossil fuel (Hydro,Nuclear and RES) in total generation(%) |  | 34.5422 | 12.9652 | 28.1816 | 7.3513 | 23.8529 | 21.1285
H. All India Demand Diversity Factor
Based on Regional Max Demands |  | 1.0575
Based on State Max Demands |  | 1.0875
Diversity factor = Sum of regional or state maximum demands / All India maximum demand
*Source: RLDCs for solar connected to ISTS; SLDCs for embedded solar. Limited visibility of embedded solar data.
**Note: All generation MU figures are gross
***Godda (Jharkhand) -> Bangladesh power exchange is through the radial connection (isolated from Indian Grid)
Executive Director-NLDC

## IR-Line
INTER-REGIONAL EXCHANGES
Import=(+ve) /Export =(-ve) for NET (MU)
[6 empty] | Date of Reporting: |  |  | 22-Apr-2023
Sl No | Voltage Level | Line Details | No. of Circuit | Max Import (MW) | Max Export (MW) | Import (MU) | Export (MU) |  | NET (MU)
Import/Export of ER (With NR)
1 | HVDC | ALIPURDUAR-AGRA | 2 | 0 | 0 | 0 | 0 |  | 0
2 | HVDC | PUSAULI B/B | - | 0 | 97 | 0 | 2.47 |  | -2.47
3 | 765 kV | GAYA-VARANASI | 2 | 462 | 508 | 0 | 2.3 |  | -2.3
4 | 765 kV | SASARAM-FATEHPUR | 1 | 178 | 457 | 0 | 3.73 |  | -3.73
5 | 765 kV | GAYA-BALIA | 1 | 0 | 550 | 0 | 7.7 |  | -7.7
6 | 400 kV | PUSAULI-VARANASI | 1 | 0 | 150 | 0 | 2.16 |  | -2.16
7 | 400 kV | PUSAULI -ALLAHABAD | 1 | 45 | 58 | 0 | 0.12 |  | -0.12
8 | 400 kV | MUZAFFARPUR-GORAKHPUR | 2 | 405 | 739 | 0 | 3.15 |  | -3.15
9 | 400 kV | PATNA-BALIA | 2 | 95 | 474 | 0 | 5.29 |  | -5.29
10 | 400 kV | NAUBATPUR-BALIA | 2 | 139 | 508 | 0 | 5.23 |  | -5.23
11 | 400 kV | BIHARSHARIFF-BALIA | 2 | 332 | 315 | 0 | 0.18 |  | -0.18
12 | 400 kV | MOTIHARI-GORAKHPUR | 2 | 117 | 441 | 0 | 3.49 |  | -3.49
13 | 400 kV | BIHARSHARIFF-VARANASI | 2 | 277 | 259 | 0 | 1.01 |  | -1.01
14 | 220 kV | SAHUPURI-KARAMNASA | 1 | 0 | 201 | 0 | 3.7 |  | -3.7
15 | 132 kV | NAGAR UNTARI-RIHAND | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 132 kV | GARWAH-RIHAND | 1 | 25 | 0 | 0.36 | 0 |  | 0.36
17 | 132 kV | KARMANASA-SAHUPURI | 1 | 0 | 0 | 0 | 0 |  | 0
18 | 132 kV | KARMANASA-CHANDAULI | 1 | 0 | 0 | 0 | 0 |  | 0
ER-NR | [5 empty] | 0.36 | 40.53 |  | -40.17
Import/Export of ER (With WR)
1 | 765 kV | JHARSUGUDA-DHARAMJAIGARH | 4 | 2154 | 0 | 32.8 | 0 |  | 32.8
2 | 765 kV | NEW RANCHI-DHARAMJAIGARH | 2 | 953 | 379 | 9.45 | 0 |  | 9.45
3 | 765 kV | JHARSUGUDA-DURG | 2 | 0 | 687 | 0 | 9.98 |  | -9.98
4 | 400 kV | JHARSUGUDA-RAIGARH | 4 | 29 | 384 | 0 | 4.15 |  | -4.15
5 | 400 kV | RANCHI-SIPAT | 2 | 198 | 106 | 1.9 | 0 |  | 1.9
6 | 220 kV | BUDHIPADAR-RAIGARH | 1 | 0 | 56 | 0 | 1.87 |  | -1.87
7 | 220 kV | BUDHIPADAR-KORBA | 2 | 97 | 0 | 1.59 | 0 |  | 1.59
ER-WR | [5 empty] | 45.74 | 16 |  | 29.74
Import/Export of ER (With SR)
1 | HVDC | JEYPORE-GAZUWAKA B/B | 2 | 0 | 657 | 0 | 12.21 |  | -12.21
2 | HVDC | TALCHER-KOLAR BIPOLE | 2 | 0 | 1652 | 0 | 38.87 |  | -38.87
3 | 765 kV | ANGUL-SRIKAKULAM | 2 | 0 | 2845 | 0 | 54.36 |  | -54.36
4 | 400 kV | TALCHER-I/C | 2 | 418 | 110 | 2.55 | 0 |  | 2.55
5 | 220 kV | BALIMELA-UPPER-SILERRU | 1 | 0 | 0 | 0 | 0 |  | 0
ER-SR | [5 empty] | 0 | 105.44 |  | -105.44
Import/Export of ER (With NER)
1 | 400 kV | BINAGURI-BONGAIGAON | 2 | 326 | 0 | 3.9 | 0 |  | 3.9
2 | 400 kV | ALIPURDUAR-BONGAIGAON | 2 | 1008 | 0 | 11.79 | 0 |  | 11.79
3 | 220 kV | ALIPURDUAR-SALAKATI | 2 | 178 | 0 | 2.19 | 0 |  | 2.19
ER-NER | [5 empty] | 17.88 | 0 |  | 17.88
Import/Export of NER (With NR)
1 | HVDC | BISWANATH CHARIALI-AGRA | 2 | 481 | 0 | 11.44 | 0 |  | 11.44
NER-NR | [5 empty] | 11.44 | 0 |  | 11.44
Import/Export of WR (With NR)
1 | HVDC | CHAMPA-KURUKSHETRA | 2 | 0 | 747 | 0 | 31.97 |  | -31.97
2 | HVDC | VINDHYACHAL B/B | - | 439 | 0 | 11.08 | 0 |  | 11.08
3 | HVDC | MUNDRA-MOHINDERGARH | 2 | 0 | 784 | 0 | 27.21 |  | -27.21
4 | 765 kV | GWALIOR-AGRA | 2 | 189 | 1567 | 0.18 | 16.02 |  | -15.84
5 | 765 kV | GWALIOR-PHAGI | 2 | 0 | 0 | 0 | 8.89 |  | -8.89
6 | 765 kV | JABALPUR-ORAI | 2 | 270 | 614 | 0 | 10.49 |  | -10.49
7 | 765 kV | GWALIOR-ORAI | 1 | 0 | 0 | 11.17 | 0 |  | 11.17
8 | 765 kV | SATNA-ORAI | 1 | 0 | 777 | 0 | 13.82 |  | -13.82
9 | 765 kV | BANASKANTHA-CHITORGARH | 2 | 1167 | 0 | 29.96 | 0 |  | 29.96
10 | 765 kV | VINDHYACHAL-VARANASI | 2 | 0 | 2181 | 0 | 37.56 |  | -37.56
11 | 400 kV | ZERDA-KANKROLI | 1 | 459 | 0 | 5.62 | 0 |  | 5.62
12 | 400 kV | ZERDA -BHINMAL | 1 | 322 | 0 | 7.72 | 0 |  | 7.72
13 | 400 kV | VINDHYACHAL -RIHAND | 1 | 477 | 0 | 21.25 | 0 |  | 21.25
14 | 400 kV | RAPP-SHUJALPUR | 2 | 790 | 222 | 5.74 | 1.1 |  | 4.64
15 | 220 kV | BHANPURA-RANPUR | 1 | 0 | 0 | 0 | 0 |  | 0
16 | 220 kV | BHANPURA-MORAK | 1 | 0 | 0 | 0 | 0 |  | 0
17 | 220 kV | MEHGAON-AURAIYA | 1 | 39 | 0 | 1.1 | 0 |  | 1.1
18 | 220 kV | MALANPUR-AURAIYA | 1 | 66 | 0 | 0.8 | 0 |  | 0.8
19 | 132 kV | GWALIOR-SAWAI MADHOPUR | 1 | 0 | 0 | 0 | 0 |  | 0
20 | 132 kV | RAJGHAT-LALITPUR | 2 | 0 | 0 | 0 | 0 |  | 0
WR-NR | [5 empty] | 94.62 | 147.06 |  | -52.44
Import/Export of WR (With SR)
1 | HVDC | BHADRAWATI B/B | - | 0 | 1009 | 1.06 | 12.1 |  | -11.04
2 | HVDC | RAIGARH-PUGALUR | 2 | 0 | 4514 | 0 | 109.03 |  | -109.03
3 | 765 kV | SOLAPUR-RAICHUR | 2 | 0 | 423 | 0 | 13 |  | -13
4 | 765 kV | WARDHA-NIZAMABAD | 2 | 0 | 2674 | 0 | 45.98 |  | -45.98
5 | 400 kV | KOLHAPUR-KUDGI | 2 | 1008 | 0 | 20.07 | 0 |  | 20.07
6 | 220 kV | KOLHAPUR-CHIKODI | 2 | 0 | 0 | 0 | 0 |  | 0
7 | 220 kV | PONDA-AMBEWADI | 1 | 0 | 0 | 0 | 0 |  | 0
8 | 220 kV | XELDEM-AMBEWADI | 1 | 0 | 77 | 2.66 | 0 |  | 2.66
WR-SR | [5 empty] | 23.79 | 180.11 |  | -156.32
INTERNATIONAL EXCHANGES | [7 empty] | Import(+ve)/Export(-ve)
State |  | Region | Line Name |  | Max (MW) | Min (MW) | Avg (MW) |  | Energy Exchange (MU)
|  | ER | 400kV MANGDECHHU-ALIPURDUAR 1,2&3 i.e. ALIPURDUAR RECEIPT (from MANGDECHU HEP 4*180MW) |  | 191.867 | -117.652 | 70.14 |  | 1.6833
|  | ER | 400kV TALA-BINAGURI 1,2,4 (& 400kV MALBASE - BINAGURI) i.e. BINAGURI RECEIPT (from TALA HEP 6*170MW) |  | 411.373 | 132.618 | 232.5 |  | 5.58
BHUTAN |  | ER | 220kV CHUKHA-BIRPARA 1&2 (& 220kV MALBASE - BIRPARA) i.e. BIRPARA RECEIPT (from CHUKHA HEP 4*84MW) |  | -97.7 | 22.761 | -67.54 |  | -1.621
|  | NER | 132kV GELEPHU-SALAKATI |  | -24 | -2.02 | -10.833 |  | -0.26
|  | NER | 132kV MOTANGA-RANGIA |  | 25 | -12 | 4.583 |  | 0.11
|  | NR | 132kV MAHENDRANAGAR-TANAKPUR(NHPC) |  | -79 | 0 | -61 |  | -1.46
NEPAL |  | ER | NEPAL IMPORT (FROM BIHAR) |  | -165.55 | -14.66 | -87.542 |  | -2.101
|  | ER | 400kV DHALKEBAR-MUZAFFARPUR 1&2 |  | -515 | -181 | -399.583 |  | -9.59
|  | ER | BHERAMARA B/B HVDC (B'DESH) |  | -947 | -822 | -910.33 |  | -21.848
BANGLADESH |  | ER (Isolated from Indian Grid) | 400kV GODDA_TPS-RAHANPUR (B'DESH) D/C |  | -759.17 | -611.48 | -660.75 |  | -15.858
|  | NER | 132kV COMILLA-SURAJMANI NAGAR 1&2 |  | -137 | 0 | -96.6667 |  | -2.32